## Slide 1: Current Setup
1
2
Wash
Waste
3
4
Wash
Waste
Potentiostat
Control PC
Anode Samples
Cathode Samples
Anolyte
Chamber
Catholyte
Chamber
Cathode
Pumps
Anode
Pumps
Temp
Control

## Slide 2: Current Spec
Addressable samples for each run
  E.g. [1,2] means 1st sample on anode and 2nd sample on cathode
  Returns samples to original pot after testing (15ml)
System runs on ivium potentiostat
  Runs off saved methods from ivsoft
Cleaning functions integrated at the end of every run
  Membrane
  Chamber
  Syringes
Manual temperature control – all experiments in one batch (4 pairs) must be run at one temp
Currently based in Chem831 for prototyping & testing